Install scanner software--UP560

- Before we install the software,we need to turn off the firewall.(Follow the pictures)

- Double click  “This PC”

- Copy the link and download the software.

- Choose a correct language and click “OK”,then follow the instructions click “Next”.

- Copy the link and download the software.

- Select the installation path and click“ next”(It is not recommended to install on C drive).

- Select the scanner of the corresponding model（if we turn on the scanner and connect to the computer ,it can choose automatically）.

- Finish.（完成）

- After we install finished,We suggest restarting the computer,then we can see five icons on the desktop.

  - UPView:We can check the model in the software.

  - UP3D Scan Calibrator:we can calibration in this software.

  - UP3D DentalStation:we can create new orders and calibration.

  - Sunlogin:we can delete directly.

  - Teamviewer:If you have some problems,you can double click this one and send the picture to our technical support.